HVAC Course Syllabus

Course Title:		HVAC 3

Course Number:	6263 / 6622

Program Name:	Heating, Ventilating, and Air Conditioning (HVAC): 47.0201

Pre-requisites

It is advisable that any student coming into the HVAC Program have an annual attendance of 95% or greater;  an overall minimum GPA of 2.0 or better; and a 2.0 or better in the math/ science area(s).  A student’s aptitude and career interest inventory should be geared toward higher levels of a technical career development in engineering with a focus in analytical thinking.  Students should be task oriented and possess strong qualities in perseverance, integrity, being able to focus, and have respect for themselves, peers, instructors, and administrative staff.

Required Materials

Textbook

Joseph Moravek & John E. Hohman,  HVAC 201

1. 	1-½” Three Ring Binder

2.	Notebook

3. 	Lined 8 ½ x 11, 3-hole paper

4. 	(2) pens (black or blue)

5. 	(2) pencils

6. 	(1) box of 12 fine point Sharpies.

7. 	12” Metal Ruler

8. 	Safety Glasses (soft nylon case optional)

9.	Textbook (Student may purchase personal              copy or school will provide class copy)

Instructor  Information

Scott Gallus,  phone: 773-534-2999,  e-mail: slgallus@cps.edu

Course Description

6263/6622 – Heating, Ventilating and Air Conditioning 3 (HVAC 3)		Credits 2.00

Course Length: 750 minutes per week – 40 weeks annually

12th Grade

HVAC-2 is the third course of a three year program in Heating, Ventilating and Air Conditioning.  The following basic questions will help guide your studies in this course:

1)	In what hands-on learning will a student be exposed?

2)	What various areas of HVAC will a second year student study?

3)	Will students have the necessary hands-on skills for employment?

4)	Will students be able to start their own business from what is learned through the HVAC curriculum?

5)	Will students graduate with any nationally recognized certifications?

To help answer these questions, you will examine some of the following topics:

- Theory and hands-on work of series and parallel circuits using light bulb and switching trainers.

- Sheet metal work used in forced air heating and air conditioning systems.

- Use of sheet metal tools and equipment.

- Design and fabrication of dusting and sheet metal work necessary for the installation of HVAC equipment.

- Soldering and brazing techniques

- Vocational ethics, transitional soft skills, workplace skills.

- Computer system technology as it applies to the HVAC field.

- Current industry skills standards leading to certification and licensing.

Student Performance Outcomes

Basic Question 1.  What type of advanced skills will a student learn?

Students will troubleshoot and diagnose various field induced problems in each group’s workstations to within 70% accuracy and repair to within 100% of working order within a time frame designated by the instructor to achieve a minimum passing grade of 70%.

Basic Question 2. What various areas of HVAC will a third year student study?

Students will complete a high efficiency forced air furnace and central air conditioning installation in each group’s workstation with all duct, piping, venting, and electrical work needed for the safe and efficient performance of a heating and air conditioning system with a 100% operation to achieve a minimum passing grade of 70%..

Basic Question 3. Will students have necessary transition skills necessary for employment?

Students will acquire an understanding of learned soft skills from each soft skills lesson by demonstrating a competency level of no less than 70% correct during role plays and on quizzes given by the instructor within a time frame designated by the instructor.

Basic Question 4.  Will students be able to start their own business from what is learned through the HVAC curriculum?  Students will set-up needed requirements in the HVAC shop for the initial start-up of a business within the means of their own budget within a time frame as designated by the instructor.

Basic Question 5.  Will students graduate with any nationally recognized certifications?

Students can graduate with as many as 3 nationally standardized certifications that are recognized as achieving a 70% or greater score in each exam within the time frame designated by the instructor.

Course Grading System

Points will be given for each individual assignment, task, project and/or job as determined by the instructor.  The total sum of all points will be transposed into a percentage that will determine a student’s grade for a given quarter and/or semester.  Students are evaluated using the following criteria:

- Student Performance Outcomes

- Projects including group and individual

- Exams and quizzes

- Notebooks

- Handouts

Grade Point Values

A	90 – 100 %

B	80 – 89   %

C	70 – 79   %	[Competency Level]

D	60 – 69   %

Attendance

Students are expected to be present and on-time for all classes unless sickness or medical appointment is verified through the attendance office of the school.  Students whom are absent are expected to make-up work or like work within a designated time and place as determined by the instructor.  Truancy and cutting will not be tolerated with each student subject to the discipline as designated by the instructor, disciplinary office, or principal.

Honesty Policy

It is each student’s responsibility to understand the consequences as determined by each class and school concerning dishonest practices and lack of integrity associated with such activities.  Such practices and activity will not be tolerated and students associated with the like can have any certifications and / or licenses revoked along with grade adjustments and notification to the parents or guardians.

Additional Guidelines

Notebooks used for HVAC class are proprietary to that class and may not be used for any other classes.  The good condition of textbooks given to students for use in class will be the responsibility of each student.  Students who damage, write in, or lose books will need to pay for said books to the school for the re-ordering of replacement copies.   It will be the responsibility of each student within a group to safeguard the tools given to them for use by the instructor of the HVAC Program.  Lost tools or negligent or irresponsible tool use will be deemed the responsibility of the group to replace with the same or like tool as designated by the instructor or pay for said tool(s) missing or broken.  Every group will be designated their own tool box with combination lock.  Each student will be given a locker to be shared by one other to safeguard books, tools, and the like.  It is the responsibility of each student to make sure that all tools and books are secured safely before they exit the class.

All DCCP construction shop students are expected to follow the CPS Code of Conduct and any classroom rules laid that include but are not limited to:

  - Mutual respect between students, their peers, and the instructor

  - Work cooperatively

  - Be punctual

  - Demonstrate consistent attendance

  - Listen and maintain focus during all classroom and shop instruction

  - Uphold shop safety rules to highest regard

Illinois Learning Standards

English

State Goal 1A, 1B, 1C-Read with understanding and fluency

State Goal 3A, 3B, 3C- Write to communicate for a variety of purpose.

State Goal 4A, 4B- Listen and speak effectively in a variety of situations.

State Goal 5A, 5C- Use the language arts to acquire, assess, and communicate information.

Math

State Goal 6 - Number Sense

State Goal 7 - Estimation and Measurement

Science

Goal 12C, 12D - Concepts and Principles

Goal 13B - Science, Technology and Society

Course Calendar

| Week | Topic or Competency | Items Due |
| --- | --- | --- |
| 1- 4 | a) High Efficiency Forced Air Furnace (HEFAF) with Cased Evaporator Coil (CEC) Installation 1) FAF Removal and Installation of HEFAF with CEC 2) PVC Cutting, Reaming, and Connections 2) Condensate PVC Piping with Condensate Pump Installation 3) PVC Venting Installation & Requirements b) Basic Air Conditioning Cycle 1) Refrigerants, Lubrication, Safety, and the Environment 2) Four Major Components: Purpose & Operation 3) Temperature and Pressures 4) Compression Ratio 5) Superheat, Subcooling, and Saturation Conditions c) Soft Skills – Lesson 12-1: Developing Your Leadership Style – Part 1 | HEFAF Installation. PVC Layout Condensate Pump & PVC Cemented Installation PVC Venting Installation AC Cycle Handout Refrigerants, Lubrication, Safety, and Environment Handout Major Components Handout Temp / Pres Handout(s) Compression Ratio Handout The 3-S Handout Soft Skills Handout(s) and Quiz |
| 5 - 8 | a) HEFEF Condensate Kit Operation and Installation b) HEFEF Sequence of Operation c) HEFEF Schematics & Wiring Diagrams d) HEFEF Troubleshooting and Diagnostic Practices e) Condensing Unit Installation 1) Placement Considerations & Codes 2) Copper Tubing Line Set Installation 3) Disconnect: Purpose, Operation, & Installation 4) EMT Conduit & 240 Volt Wiring Installation 5) Low Voltage Wiring to Furnace f) Soft Skills – Lesson 12-2: Developing Your Leadership Style – Part 2 | Condensate Kit Installation HEFEF S of O Handout HEFEF Schematics Handout HEFEF Troubleshooting Practices H.O. Condensing Unit Installation Notes Placement Layout Line Set Installation Disconnect Installation Conduit & Wiring Installation Low Voltage Wiring Soft Skills Handout(s) and Quiz |
| 9 - 16 | a) EPA Technician Certification & Licensing 1) Recovery, Recycling, Reclaiming 2) Section 608 Certification Preparatory Manual 3) Section 608 Certification Preparatory CD 4) Section 608 Certification Exam b) Manifold & Gauges and Meters c) Sealed System Leak Checking Processes & Procedures d) Filter Driers, Suction & Liquid Line e) Pulling a Vacuum f) Charging a System 1) Charging Procedures 2) Charging Procedures Interactive CD g) Soft Skills – Lesson 12-3: Learning to Contribute Effectively to a Team – Part 2 | 3-R Handout Manual Review with Q & A CD Review Midterm Exam Pressure Gauges & Meters Performance Leak Checking Performance Evaluation Filter Driers Handout Vacuum Handout & Performance Charging Procedures Handout Charging Procedures Evaluation Charging Procedures CD Questions Soft Skills Handout(s) and Quiz |
| 17 - 20 | a) Universal R-410A Safety and Training 1) R-410A and the R-22 Phase-out 2) AC System Fundamentals Reviewed 3) Refrigerant Chemistry and Applications 4) Refrigerant Oils and Their Applications 5) Safety 6) Universal R-410A Interactive CD Practice Testing b) Universal R-410A Safety and Training Exam c) AC Schematics and Wiring Diagrams 1) Troubleshooting & Diagnostic Practices d) Soft Skills – Lesson 12-9: Corporate Cultures: Learning How to Fit In! | R-410A & R-22 Phase-out Questions AC Fundamentals Questions Refrigerant C & A Questions Refrigerant Oils & Applications Qtns. Safety Questions Interactive Practicing Midterm Exam Schematics & Wiring Handout(s) Troubleshooting Practice Soft Skills Handout(s) and Quiz |
| 21- 24 | a) Refrigerant Accessories 1) Access and Service Valves 2) High and Low Pressure Switches 3) Crankcase Heaters 4) Overload Protection Devices 5) Receiver 6) Accumulator b) Humidifier Operation and Installation c) Soft Skills – Lesson 12-16: Workplace Entitlement – Part 1 | Service Valves Handout & Performance Pressure Switches Handout Crankcase Htrs Handout & Checks O.L. Handout and Checks Receiver Handout Accumulator Humidifier Installation Soft Skills Handout(s) and Quiz |
| 25 - 28 | a) Advanced Evacuation and Charging Procedures 1) Types of Leak Detection 2) Evacuation Equipment, Gauges, and Meters a) Care and Maintenance 3) Evacuation Target Values 4) Triple Evacuation Procedures 5) Charging with Estimated Target Values 6) Weighing in the Charge 7) Suction Superheat Method 8) Subcooling Method 9) T-P Charging Chart b) Soft Skills – Lesson 12-17: Workplace Entitlement – Part 2 | Leak Detection Procedures Evaluation Equipment, Gauges & Meters Handout C & M Handout and Procedures Eval. Evacuation Standards Handout Evacuation Procedures Evaluation Charging Standards Handout Charging Performance Evaluation Charging Performance Evaluation Charging Performance Evaluation T-P Charging Chart Procedures Eval. Soft Skills Handout(s) and Quiz |
| 29 - 32 | a) Normal AC Standard Efficiency Measurements b) Normal AC High Efficiency Expected Measurements c) Overcharged & Undercharged Measurements d) Restricted Evaporator Airflow Measurements e) Restricted Condenser Airflow Measurements f) Inefficient Compressor Expected Measurements g) Over and Underfed Fixed Orifice Expected Measurements h) Liquid Line Restriction Measurements i) Overfed TXV Measurements j) Underfed TXV Measurements k) Soft Skills – Lesson 12-18: Workplace Entitlement – Part 3 | Performance Checks Performance Checks Interactive CD Assignment Performance Checks Performance Checks Performance Checks Performance Checks Interactive CD Ass. Performance Checks Interactive CD Ass. Performance Checks Performance Checks Performance Checks Soft Skills Handout(s) and Quiz |
| 32 - 40 | a) Electrical Troubleshooting 1) Case Studies 1 – 6 2) Symptoms, Possible Causes, and Application to Instrumentation 3) Circuits: Complete, Short, Open, and Grounded 4) Effects of Loose Wiring Connections b) Soft Skills – Lesson 12-19: Consistency in the Workplace – Part 1 c) Mechanical Troubleshooting 1) Case Studies 1 – 8 d) Advanced Installation Techniques 1) Piping 2) Sealing Duct Systems 3) Vibration & Noise Issues 4) Refrigerant System Flush e) Business Practices 1) Inexpensive Advertising 2) Making a Profit, Not a Killing 3) Keeping Customers 4) Short Term and Long Term Goals f) Soft Skills – Lesson 12-19: Consistency in the Workplace – Part 2 g) National Certification Specialized Area Exam | Case Study Evaluations Application Handout Circuits Handout Loose Wiring Evaluation(s) Soft Skills Handout(s) and Quiz Case Study Evaluations Piping Handout & Performance Eval. Sealed Duct Evaluation Vibration & Noise Evaluation Refrigerant System Flush Questions Advertising Fabrication Profit List(s) Proper Etiquette List Goal List Soft Skills Handout(s) and Quiz Final Exam |